## Instructions
Tab name | Instruction
Timeseries Files | The input files each contains one time series. For the specific application of RESERVE, it should include at least 6 files, the actuals and short-term forecasts of load, solar, and wind.
Starts and Ends | The start and end time for the various sets used in the training and deployment process. Start time is inclusive, while end time is exclusive.
Lag Term Configs | The configuration that define the amount of lag terms generated with each input timeseries. The numbers here represent the relative timeshift from current time in timesteps. . So +1->Forecast time, 0->Present time, -1->1 time step in past, -2->2 time steps in past... E.g. 1: start = -2, end = -1 implies only include values from 2 previous time steps. E.g. 2: if start<end, (start = 0 , end = -1) implies do not include any terms from this time series. Step size is defined in the units of Machine learning time step as well. If 2, implies pick every 2nd lag term between the start and end also defined in this tab. E.g. When a 15-min predictor is repeated thrice to obtain a 5-min predictor, you can pick every 3rd value/ set step size as 3 to avoid redundancy. If a timeseries is both a predictor and a response, i.e. using historical output to predict future output, then end of the lag term is smaller than the response_lead_term, or else it would result in impossible perfect foresight.
Lead Term Configs | The configuration that define the amount of lead terms that the rest of the data are used to predict. Most often you would only need to predict one specific lead term in the future. As a gentle reminder, start and end are relative to present time, T0. So, 1 would implies T0+1. To simply predict for 1 step ahead, use (1,2,1) as (start, end, step) If a timeseries is both a predictor and a response, i.e. using historical output to predict future output, then end of the lag term is smaller than the response_lead_term, or else it would result in impossible perfect foresight.
Temporal Input Toggles | for example, if only caring about renewable forecast error, then holiday and weekday information should hold no value. If you want solar azimuth angle you must provide a valid longitude. If you want solar zenith angle then in addition to longitude you must have latitude as well

## Timeseries Attributes
Feature Name | File Name | Is Input? | Is Output? | Notes
wind_speed_WTK | Site_23019_wind_speed_wtk.csv | FALSE | TRUE | The wind speed from the wind tool kit of site 23019
U_wind_ERA5_loc_1 | Wind_u_comp_Riverside_1.csv | TRUE | FALSE | The u component wind speed from the nearby ERA5 site
V_wind_ERA5_loc_1 | Wind_v_comp_Riverside_1.csv | TRUE | FALSE | The v component wind speed from the nearby ERA5 site
U_wind_ERA5_loc_2 | Wind_u_comp_Riverside_2.csv | TRUE | FALSE | The u component wind speed from the nearby ERA5 site
V_wind_ERA5_loc_2 | Wind_v_comp_Riverside_2.csv | TRUE | FALSE | The v component wind speed from the nearby ERA5 site
U_wind_ERA5_loc_3 | Wind_u_comp_Riverside_3.csv | TRUE | FALSE | The u component wind speed from the nearby ERA5 site
V_wind_ERA5_loc_3 | Wind_v_comp_Riverside_3.csv | TRUE | FALSE | The v component wind speed from the nearby ERA5 site
U_wind_ERA5_loc_4 | Wind_u_comp_Riverside_4.csv | TRUE | FALSE | The u component wind speed from the nearby ERA5 site
V_wind_ERA5_loc_4 | Wind_v_comp_Riverside_4.csv | TRUE | FALSE | The v component wind speed from the nearby ERA5 site

## Starts and Ends
Set Name | Start Time | End Time | Notes
Training and Validation Set | 2007-01-01 | 2011-01-01 | The data set used in training and cross validation
Testing Set | 2012-01-01 | 2013-01-01 | The hold out data set, recommends at least one full year
Inference Set | 2007-01-01 | 2013-01-01 | The model would provide prediction in the end on this set, which can have as much or as little overlap with train/test set

## Lag Term Configs
Feature | Start | End | Step
U_wind_ERA5_loc_1 | -2 | 1 | 1
V_wind_ERA5_loc_1 | -2 | 1 | 1
U_wind_ERA5_loc_2 | -2 | 1 | 1
V_wind_ERA5_loc_2 | -2 | 1 | 1
U_wind_ERA5_loc_3 | -2 | 1 | 1
V_wind_ERA5_loc_3 | -2 | 1 | 1
U_wind_ERA5_loc_4 | -2 | 1 | 1
V_wind_ERA5_loc_4 | -2 | 1 | 1

## Lead Term Configs
Feature | Start | End | Step
wind_speed_WTK | 1 | 2 | 2

## Temporal Features
Temporal Feature | To include? | Notes
Holiday | TRUE
Day of week | TRUE
Revolution angle | TRUE
Rotation angle | TRUE
Elapsed time | TRUE
Solar position | TRUE

## Main Parameters
Parameters | Value | Notes
Latitude | 37 | In degrees
Longitude | -116.35 | In degrees
TZ from UTC | -8
Sample Interval | 1H
Model Name | RECLAIM_v1.0 | The name of the model, which would also determine the name of the directories